## SD 1001
[16 empty] | system |  |  | On-axis measurements |  |  |  | EK 80 lobe measurements - (replayed autonomous data)
|  | Time(GMT) |  | Time(GMT) | EBA | Along Angle Sens | Athwart Angle sens. | Xducer | Sphere | ref TS | Range | Meas | # pings | System | System | integ | Calc | Theory | Meas | Calc | Calc |  | 3dB Beam | 3dB Beam | Offset | Offset | Sa Corr |  | Passive
Date | Location |  | Location |  |  |  |  | Temp | Temp |  | (m) | TS |  | gain | Sacorr | gain | gain | SA | SA | Sv Gain | Sa corr | gain | Width Along | Athwart | Along | Athwart |  | rms | Noise | Comments
2016-04-26 | AFSC dock |  |  |  | -12.4818 | 10 | 10 |  |  | -41.42 | 13.7 | -37.02 | 46 | 18 | 0 | 18 | 20.2 | 293.2451 | 749.71 | 20.0383 | -0.16169

## EBA calculations
event | xducer s/n | tank EBA | tank C | environment C | envir EBA
2 channel combi |  | -100 | 1500 | 1470 | -100.1755